INVITATION FOR BIDS

Lahore Electric Supply Company (LESCO) invites sealed bids from LESCO/DISCOs/ NTDC/PPMC/WAPDA’s Pre-qualified and Registered manufacturers / suppliers; registered with Income Tax & Sales Tax Department and who are on Active Taxpayers list of the Federal Board of Revenue, for supply of the following material.

| Tender No. | Sr. No. | Description of store | Unit | Tender's Qty. | DATE & TIME |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Submission of Bids | Opening of Bids |
| 4087 | 1 | ACSR Dog Conductor | Km | 400 | 15.10.2024 At 10:30AM | 15.10.2024 At 11:00AM |
|  | 2 | ACSR Osprey Conductor | Km | 800 |  |  |
| 4088 | 1 | AAC Wasp Conductor | Km | 500 |  |  |
|  | 2 | AAC Ant Conductor | Km | 700 |  |  |
| 4089 | 1 | Insulated Wasp Conductor | Km | 250 | 17.10.2024 At 10:30AM | 17.10.2024 At 11:00AM |
|  | 2 | 11KV S/C Cable 500-MCM | Km | 40 |  |  |
|  | 3 | PVC 4/C 120mm2 (37/.083) | Km | 60 |  |  |
| 4090 | 1 | Insulated Osprey Conductor | Km | 30 |  |  |
|  | 2 | Insulated Rabbit Conductor | Km | 120 |  |  |
| 4091 | 1 | 15 KV XLPE 3/C 35 mm2 Cable | Km | 12 |  |  |
| 4092 | 1 | LT Steel Structure 30'-8" Galv. | Nos. | 3,000 | 22.10.2024 At 10:30AM | 22.10.2024 At 11:00AM |
|  | 2 | HT Steel Structure 45' Galv. | Nos. | 1,500 |  |  |
| 4093 | 1 | HT Steel Structure 58' Galv. | Nos. | 100 |  |  |
| 4094 | 1 | HT PC Spun Hollow Pole 45' | Nos. | 1,400 | 24.10.2024 At 10:30AM | 24.10.2024 At 11:00AM |
| 4095 | 1 | 11 KV Steel X-Arm | Nos. | 32,000 |  |  |
|  | 2 | 11 KV Disc Insulator | Nos. | 32,000 |  |  |
| 4096 | 1 | LT PC Spun Hollow Pole 31' | Nos. | 1,600 |  |  |
| 4097 | 1 | T. Kit 500MCM (In door) S/C | Nos. | 100 | 29.10.2024 At 10:30AM | 29.10.2024 At 11:00AM |
|  | 2 | T. Kit 500MCM (Outdoor) S/C | Nos. | 300 |  |  |
| 4098 | 1 | Anchor Shackle | Nos. | 30,000 |  |  |
|  | 2 | Eye Nut | Nos. | 40,000 |  |  |
|  | 3 | Insulator Pins (Steel X-Arm) | Nos. | 75,000 |  |  |
| 4099 | 1 | Stay Rod Complete | Nos. | 10,000 | 31.10.2024 At 10:30AM | 31.10.2024 At 11:00AM |
|  | 2 | Double Platform | Nos. | 2,000 |  |  |
| 4100 | 1 | DA Bolt 12" | Nos. | 3,000 |  |  |
|  | 2 | DA Bolt 14" | Nos. | 3,000 |  |  |
|  | 3 | DA Bolt 22" | Nos. | 3,000 |  |  |

Bidding documents, containing detailed terms and conditions, complete specifications / drawings, method of procurement, procedure for submission of bids, bid security, bid validity, opening of bid, eligibility / bid evaluation criteria, clarification / rejection of bids and performance guarantee etc., are available for the interested bidders at 3rd Floor, Room No. 312 office of the Chief Engineer (Material Management) LESCO Ltd., 22-A Queens Road, Lahore one day before tender opening date. Price of bidding documents is Rs.1,000/- each (non-refundable). Bidding documents can also be downloaded from website at www.lesco.gov.pk free of cost just for reading purpose.

The bids, prepared in accordance with the instructions in the bidding documents, must reach at 3rd Floor, Room No. 312 office of the Chief Engineer (Material Management) LESCO Ltd., 22-A Queens Road, Lahore on or before above mentioned closing dates and timings. Bids will be opened on the same day at aforesaid dates & timings. This advertisement is also available on PPRA website at www.ppra.org.pk.

Chief Engineer (M.M) LESCO

22-A Queens Road, Lahore

Phone No. 042-99204842

Email: dmmm@lesco.gov.pk