TENDER NOTICE NO. 49-50/2024

TENDER NOTICE FOR THE PURCHASE OF DENTAL UNIT WITH ACCESSORIES AND USG MACHINE THROUGH OPEN TENDER

- A Public Sector General Hospital invites sealed tenders from eligible / reputed firms / suppliers registered with income tax / general sale tax department for the purchase of Dental Unit with accessories and USG Machine on FOR basis at D.G Khan under single stage – two envelopes bidding procedure from the eligible tenderers / suppliers / manufacturers for the following items.

| Sr. # | Tender # | Description | Tender Fee | Last Date / Time of Bid submission | Bids Opening Date / Time |
| --- | --- | --- | --- | --- | --- |
| 1. | 49/2024 | Dental Unit with Accessories | 2,000/- | 19.02.2025 At 10:00 Hrs | 19.02.2025 At 10:30 Hrs |
| 2. | 50/2024 | USG Machine | 2,000/- | 20.02.2025 At 10:00 Hrs | 20.02.2025 At 10:30 Hrs |

- A set of tender documents along with terms and conditions can be downloaded from PPRA website: www.ppra.org.pk at a cost of Rs. 2,000/- separately for each tender payable in the shape of “Pay Order/Demand Draft” in favor of “Head LAO, Public Sector General Hospital, D.G Khan”. The Pay Order/Demand Draft and tender request must be submitted along with tender proposals before closing date of tender. No Tender / Proposal will be accepted without Tender Fee.

- This tender can be seen on PPRA website www.ppra.org.pk also.

- The Competent Authority reserves the right to reject any or all the tenders.

Admin Officer

Public Sector General Hospital

H-11/4 Islamabad

Ph: 051-9257171

Ext: - 289

INSTRUCTIONS

TO FILL UP THE TENDER DOCUMENTS

Technical worksheet

- Download file named “Tender File Dental Unit with Accessories” from URL: www.ppra.org.pk for quoting technical specification of “Dental Unit with Accessories”.

- Open relevant file.

- Save the file when it is complete to fill up the cells of as many brands as you want to quote.

- Please write “NQ” against non-quoted items in empty cells.

- Technical Proposal should not indicate any price. There will be two different envelopes, one for Technical Proposal only and one for Financial Proposal. All pages of hard copy should be stamped, signed and with dated of Technical Proposal. The format of which is contained in the required proposal attached with tender documents available at PPRA website.

- In addition to the hard copy, a soft copy as CD / Flash Drive should also be submitted with the technical proposal in MS Excel / MS Office format.

- The hard and soft copies should be identical.

- Variation in hard and soft copy will not be acceptable.

- Put duly signed / stamped print-outs and CD / Flash Drive of “Technical” worksheet in an envelope and name it as “Technical Proposal” along with following documents:

- GST Certificate

- NTN Certificate

- Professional / Trade Tax Clearance Certificate

- Original Bank Draft of Earnest Money 2% of total value of equipment

- Valid Authority/ Distribution letter

- Original Bank Draft of Rs. 2000/- as Tender Fee (in separate enlovep)

- Agency agreement with manufacturer (foreign / local)

- Properly seal the envelope named “Technical Proposal”.

Financial worksheet

- Open same saved file again as above.

- Take print outs of “Financial” worksheet and sign & stamp each page.

- Write a CD / Flash Drive or “Save As” the file in CD / Flash Drive for making a soft copy of “Financial” worksheet (Keep it in mind that Technical worksheet will also be included in the saved file).

- Put duly signed / stamped print-outs and CD / Flash Drive of “Financial” worksheet in an envelope and name it as “Financial Proposal”.

- Put both the envelopes named “Technical Proposal” and Financial Proposal” in a large envelope and Mark it as “Tender for Dental Unit with Accessories” and properly seal it. Submit the tender documents to the specified address: Admin Officer, Public Sector General Hospital, H-11/4, Islamabad (PGHI) or directly drop it to the office of Admin Branch, Islamabad.

TERMS & CONDITIONS

PAKISTAN ATOMIC ENERGY COMMISSION

GENERAL HOSPITAL H-11/4

ISLAMABAD

PGHD-1(22)/24				    	                              		     Dated:      -01- 2025

M/S                                                   _

________________________________

________________________________

Subject:	TENDER ENQUIRY FOR THE SUPPLY OF “DENTAL UNIT WITH ACCESSORIES” THROUGH OPEN TENDER FOR FINANCIAL YEAR 2024-25

Dear Sir,

The following instructions may kindly be complied with while forwarding quotations for the supply of “Dental Unit with Accessories” through open tender basis for financial year 2024-25 for FOR basis at D.G Khan Hospital, D.G Khan.

1.	The quotations should be addressed to Admin Officer, Public Sector General Hospital, H-11/4, Islamabad. The bidders will submit their offers using single stage two envelopes bidding procedure as per following details: -

- The bid will be comprised of a Single Package containing Two Separate Envelopes. Each envelope will contain separately the “Technical Proposal” and the “Financial Proposal” in both soft and hard copy in the shape of CD / Flash Drive and print-outs respectively.

- The separate envelopes should be marked as “TECHNICAL PROPOSAL” and “FINANCIAL PROPOSAL” in bold and legible letters in order to avoid confusion.

- Initially only the envelopes marked “TECHNICAL PROPOSAL” will be opened.

- The envelopes marked as “FINANCIAL PROPOSAL” will be retained in safe custody without being opened until opening date for financial proposals.

- The technical proposal will be evaluated without reference to any Price and any proposal that do not conform to the specified requirements will be rejected.

- No amendment in the Technical Proposal will be permitted during evaluation.

- The Financial Proposal of the bids will be opened publicly at a specified time, date and venue announced and communicated in advance to the bidders of technically accepted bids only. The Financial proposal of the bids found non-responsive or without offered rates will be returned to the respective bidder and would be treated as cancelled.

- The firm will submit only one quotation against one tender document. For alternate quotations, if any, the firm will purchase separate tender documents and also will submit bid security along with each technical offer.

- Only those firms will be considered as eligible to participate in this tender, which would have stock available with them. The supply must be made within two weeks from the date of supply order.

General terms & conditions:

2.	All the Technical Proposals and Financial Proposals in Separate Sealed Envelopes clearly marked as “purchase of Dental Unit with Accessories” financial year 2024-25 should reach the undersigned on or before the tender opening date i.e. 19-02-2025 up to 10:00am. Technical bids of Dental Unit with Accessories will be opened on 19-02-2025 at 10:30am in Conference Room, Public Sector General Hospital, Sector H-11/4, Islamabad in the presence of bidders who would have submitted their offers as per instructions/ requirements and intend to be present. In case of falling holiday on the opening date, the tenders will be opened on the next working day at the same time.

3.	No tender will be considered if:-

- It is received after the time and date fixed.

- The tender and related documents are not signed.

- The offer is ambiguous.

- Items offered differ in descriptions/requirements/format etc. from those required.

- It is submitted without tender fee, earnest money or with less earnest money as a general policy.

4.	Following Documents must be attached with Technical Proposal: -

- GST Certificate

- NTN Certificate

- Profession / Trade Tax Clearance Certificate

- Original Earnest Money

- Valid Authority/ Distribution letter (Punjab Region Only) (Items quoted without authority letter will not be considered)

5.	The offered rates/quotation will be valid for 90 days.

6.	Earnest money @ 2% total value of contract value in the form of Pay Order/ Bank Draft, in favor of Head LAO, PAEC General Hospital, D.G Khan must be attached along with the Technical Offer in separate sealed envelope. Financial proposal should contain only offered price / rate.

7.	Earnest money will be returned to the unsuccessful bidders soon after finalization of the financial proposal.

8.	The supplier is required to present his agency agreement (Punjab Region only) with the manufacturer (local or foreign) to establish linkage with the manufacturers for the products authorized for sale by the distributor. PGHI will have the right to verify authenticity of agency agreement.

9.	The quantities to be purchased from the suppliers can be increased or decreased as per requirements of PGHD. The suppliers are to ensure timely delivery of equipments as specified failing to which liquidated damages / late delivery (L.D) charges will be applied @ 2% per day subject to a maximum of 10% of the purchase order.

10.	Special Instructions: -

- GST / Income Tax will be charged as per prevailing Govt Rules

- Suppliers/Distributors are bound to submit a valid authority letter/sole distribution certificate (Punjab Region Only) for all the quoted brands failing which offer will not be accepted and the same must be attached along with the TECHNICAL PROPOSAL.

- No change will be allowed during the currency of contract in supplier’s distribution and the supply orders will be generated in the name of same supplier quoted in the tender.

- Rates must be quoted in the specified file available on PPRA website. Any proposal submitted without observing the instructions will be rejected.

- It should be clearly mentioned in your quotations (Both in Technical/Commercial) whether your quoted rates are inclusive OR exclusive of GST.

11.	Any correspondence regarding this tender must be addressed to Admin Officer, Public Sector General Hospital, H-11/4, Islamabad only. For any additional information contact on telephone numbers mentioned below.

12.	The Competent Authority reserves the right to accept or reject any or all the offers.

(Muhammad Anwar Kamal)

Admin Officer

Public Sector General Hospital, H-11/4, Islamabad

Phone: 051-9257171 Ext: 289

Fax: 051-9258862

TECHNICAL SPECIFICATIONS OF DENTAL UNIT WITH ACCESSORIES

Following are the minimum requirements. Products offered must meet these parameters here in.

Dental Unit with Chair with electro hydraulic type movements

Chair should have the capacity to accommodate 200 kg patient.

Preset chair positions: start and rinsing position. Programmable chair positions.

3-4 memory holds function.

Low chair position with emergency treatment position. Chair height above ground: 385 mm 825 mm ± 15 mm

Chair movement will be controllable by dentist and assistant touch panels, as well as the multifunctional foot control

Main switch to control air, water and power.

Chair-instrument lock enables safe operation; the chair is locked while an instrument is working. With safety system, backrest and seat movement can be stopped once it meets obstacle.

# Dentist Element

Hanging arm hoses, instrument side tray. Height of dentist element will be adjustable.

Color display of Control panel with buttons to control the endodontic functions of instruments with display of RPM and Torque speed. Control panel can be used for operating functions, such as chair movement, preset and programmable positions. Cup filler, bowl rinsing, and operating light on/off instrument intensity adjustment.

Equipped With:

1 three way syringe.

3 hand piece hoses for air turbine or air motor. 1 air pressure gauge.

1 silicon mat which can be sterilized

1 built in Electric scalar (Peizo Type) with three tips compatible with system

# Assistant Element

With an angle adjustable support arm. With suction filter system for easy cleaning. Full-functional touch panel mounted on the assistant element.

Equipped With:

1 three way syringe 1 saliva ejector water Unit Fresh water bottle 1.5 ltrs.

A switch to choose city water or fresh water bottle programmable cup filler and bowl rinsing systems. Air venturi / motorized system and air water separator extra safe Hygiene distilled water bottle attached.

## Operating Light (LED Type)

Brightness is 26,000 Lux, LED type

Light on/off and intensity can be controlled both from dentist as well as assistant’s side along with sensor on Light for hands free operation, Minimum Life 40,000 hrs.

## Dental Working Stools (Qty-02)

Mobile on 5 castors

Height of seat and backrest is adjustable. Backrest angel is adjustable and lock able

## 01 Air Compressor

01 Air Compressor Oil free & Maintenance free, Tank capacity 24 Ltrs. Minimum,

5 Bar 60L/Min, Max Pressure 8 Bar, Supply 220V 50Hz, Noise level not more than 65 db Compatible with the Unit

## 01 Suction Machine

01 Suction machine vacuum regulated 170 – 200 Bar Noise level not more than 50 db

Dental Cabinet (Laminated)

L – Shape, 10 x 10 feet minimum Laminated

# Water Treatment Unit

Water treatment unit for supplying the treated water to the unit. Locally assembled with USA/Europe/Japan Parts.

# Cautery Unit

Dental Cautery machine

- Autoclave class-B, Capacity 22 Litre	X 1

Century 3 advance vacuum type prestige UK or Equivalent

- Ultra Violet – Sterilizer carlodegiorgi Italy or equivalent	X 1

- Glass bead Sterilizer – Model Maxy Steril Carlodegiorgi Italy or equivalent	X 1

- Curing Light Machine LED Max 250 Cordless	X 1

LED Benlioglu Turkey or equivalent

- Air Motor NSK or equivalent	X 1

- Straight – Hand Piece NSK or equivalent	X 1

- Contraangle hand piece NSK or equivalent	X 1

- Piezon Electric Scaler EMS Swiss or equivalent	X 1

- Fiber Optic Air Motor with straight hand piece and contra angle hand piece

NSK or equivalent	X 1 Set

- Endodontic hand piece NSK or equivalent	X 1

- Electric Apex Locator Apple / NSK / EMS / Swiss / Sirona or equivalent	X 1

- Water Distiller 750 Watt 106 Gl 4L

- 2 High speed Non-Fiber Optic Air turbine (Push type) with two spare rotors

- 1 High speed Fiber Optic Air turbine (Push type) compatible with system

- 2 slow speed air motor with straight & contra angle attachments (Push type) All above items should be compatible with the Unit

# DENTAL INSTRUMENT SETS

(05sets with each Unit) LOCAL, FDA/ CE Approved)

Dental Forceps Kit (1x12)

Teeth extraction forceps, upper anterior, straight, upper premolar, upper molar, (right and left), lower anterior, BD forceps, lower full molar forceps Bannet forceps, cross bar elevators (right and left), Filling Instruments, burnisher (Small, Medium, and Large), cement spatula, plugger all sizes, condenser (Small, Medium, and Large), Examination Sets Diagnostic kit : mouth mirror, probe, twizer, excavator, plastic instruments,

Cross Bar Elevator Periostial Elevator all sizes (Small, Medium, and Large), Guage Elevator

(1x3) (Small, Medium, and Large) curve root elevators, Bone Files (Small, Medium, and Large), Wire Cutter (Small, Medium, and Large),

Note: The firm will be responsible for complete installation including minor civil works related to water draining system.

Country of Manufacturer: USA/Europe/Japan/Turkey/China

Quality Certificate: FDA 510K for USA/ CE MDD/MDR for European (NANDO notified bodies)/

Jp MHLW for Japanese manufacturers

Manufacturing Standard: Must conform to the requirements of ISO 13485 Mode: DDP

Warranty / Guarantee:

- Two years warranty with free service and part after installation and 10 years part availability at component level.

- After expiry of warranty further 05 year Extended maintenance contract with spare part quotation is mandatory on following table: -

| 1st year | 2nd year | 3rd year | 4th year | 5th year |
| --- | --- | --- | --- | --- |

Note: Without maintenance contract quotation offer will be straight forward rejected. These rates will be quoted in financial offer however must mention in technical offer that maintenance contract rate has been quoted in financial offer.