RE-TENDER NOTICE NO. 03/2024

PURCHASE OF CHEMISTRY ANALYZER THROUGH OPEN TENDER

A Public Sector General Hospital invites sealed tenders from eligible / reputed firms / suppliers registered with Income Tax / General Sale Tax department for the purchase of Chemistry Analyzer on FOR basis at Jauharabad under Single Stage – Two Envelopes bidding procedure from the eligible tenderers / suppliers / manufacturers for the following item.

| Sr. # | Tender # | Description | Tender Fee | Last Date / Time of Bid submission | Bids Opening Date / Time |
| --- | --- | --- | --- | --- | --- |
| 1. | 3/2024 | Chemistry Analyzer | 2,000/- | 29-07-2024 At 10:00 Hrs | 29-07-2024 At 10:30 Hrs |

- A set of tender documents along with terms and conditions can be downloaded from PPRA website: www.ppra.org.pk at a cost of Rs. 2,000/- payable in the shape of “Pay Order/Demand Draft” in favor of “Head (LAO) Public Sector General Hospital, Jauharabad”. The Pay Order/Demand Draft and tender request must be submitted along with tender proposals before closing date of tender. No Tender / Proposal will be accepted without Tender Fee.

- This tender can be seen on PPRA website www.ppra.org.pk also.

- The Competent Authority reserves the right to reject any or all the tenders/item.

Admin Officer

Public Sector General Hospital

H-11/4 Islamabad

Ph: 051-9257171

Ext: - 289

INSTRUCTIONS

TO FILL UP THE TENDER DOCUMENTS

Technical worksheet

- Download file named “Tender File purchase of chemistry analyzer” from URL: www.ppra.org.pk for quoting technical specification of “purchase of chemistry analyzer”.

- Open relevant file.

- Save the file when it is complete to fill up the cells of as many brands as you want to quote.

- Please write “NQ” against non-quoted items in empty cells.

- Technical Proposal should not indicate any price. There will be two different files; one for Technical Proposal only and one for Financial Proposal. All pages of hard copy should be stamped, signed and dated of Technical Proposal. The format of which is contained in the required proposal attached with tender documents available at PPRA website.

- In addition to the hard copy, a soft copy as CD / Flash Drive should also be submitted with the technical proposal in MS Excel / MS Office format.

- The hard and soft copies should be identical.

- Variation in hard and soft copy will not be acceptable.

- Put duly signed / stamped print-outs and CD / Flash Drive of “Technical” worksheet in an envelope and name it as “Technical Proposal” along with following documents:

- GST Certificate

- NTN Certificate

- Professional / Trade Tax Clearance Certificate

- Original Bank Draft of Earnest Money 2% of total value of equipment

- Valid Authority/ Distribution letter

- Original Bank Draft of Rs. 2000/- as Tender Fee (in separate enlovep)

- Agency agreement with manufacturer (foreign / local)

- Properly seal the envelope named “Technical Proposal”.

Financial worksheet

- Open same saved file again as above.

- Take print outs of “Financial” worksheet and sign & stamp each page.

- Write a CD / Flash Drive or “Save As” the file in CD / Flash Drive for making a soft copy of “Financial” worksheet (Keep it in mind that Technical worksheet will also be included in the saved file).

- Put duly signed / stamped print-outs and CD / Flash Drive of “Financial” worksheet in an envelope and name it as “Financial Proposal”.

- Put both the envelopes named “Technical Proposal” and Financial Proposal” in a large envelope and Mark it as “Tender for purchase of chemistry analyzer” and properly seal it. Submit the tender documents to the specified address: Admin Officer, PAEC General Hospital, H-11/4, Islamabad (PGHI) or directly drop it to the office of Admin Branch, Islamabad.

TERMS & CONDITIONS

PAKISTAN ATOMIC ENERGY COMMISSION

GENERAL HOSPITAL H-11/4

ISLAMABAD

PGHJ-Proc-3(27)/2023-24				    	                              Dated: -     -    - 2024

M/S                                                   _

________________________________

________________________________

Subject:	TENDER ENQUIRY FOR THE SUPPLY OF “PURCHASE OF CHEMISTRY ANALYZER” THROUGH OPEN TENDER FOR FINANCIAL YEAR 2023-24

Dear Sir,

The following instructions may kindly be complied with while forwarding quotations for the supply of “chemistry analyzer” through open tender basis for financial year 2023-24 for FOR basis at Jauharabad Hospital, Jauharabad.

1.	The quotations should be addressed to Admin Officer, PAEC General Hospital, H-11/4, Islamabad. The bidders will submit their offers using single stage two envelopes bidding procedure as per following details:-

- The bid will be comprised of a Single Package containing Two Separate Envelopes. Each envelope will contain separately the “Technical Proposal” and the “Financial Proposal” in both soft and hard copy in the shape of CD / Flash Drive and print-outs respectively.

- The separate envelopes should be marked as “TECHNICAL PROPOSAL” and “FINANCIAL PROPOSAL” in bold and legible letters in order to avoid confusion.

- Initially only the envelopes marked “TECHNICAL PROPOSAL” will be opened.

- The envelopes marked as “FINANCIAL PROPOSAL” will be retained in safe custody without being opened until opening date for financial proposals.

- The technical proposal will be evaluated without reference to any Price and any proposal that do not conform to the specified requirements will be rejected.

- No amendment in the Technical Proposal will be permitted during evaluation.

- The Financial Proposal of the bids will be opened publicly at a specified time, date and venue announced and communicated in advance to the bidders of technically accepted bids only. The Financial proposal of the bids found non-responsive or without offered rates will be returned to the respective bidder and would be treated as cancelled.

- The supplier is bound to replace the near expiry disposable stock at least six months before expiry date of supplied items failing which may result in deduction form any outstanding bill/invoice or performance bank guarantee.

- The firm will submit only one quotation against one tender document. For alternate quotations, if any, the firm will purchase separate tender documents and also will submit bid security along with each technical offer.

- Only those firms will be considered as eligible to participate in this tender, which would have stock available with them.

General terms & conditions:

2.	All the Technical Proposals and Financial Proposals in Separate Sealed Envelopes clearly marked as “purchase of chemistry analyzer” financial year 2023-24 should reach the undersigned on or before the tender opening date i.e. 29-07-2024 up to 10:00am. Technical bids of chemistry analyzer will be opened on 29-07-2024 at 10:30am in Lecture Hall, Additional Block, PAEC General Hospital, Sector H-11/4, Islamabad in the presence of bidders who would have submitted their offers as per instructions/ requirements and intend to be present. In case of falling holiday on the opening date, the tenders will be opened on the next working day at the same time.

3.	No tender will be considered if:-

- It is received after the time and date fixed.

- The tender and related documents are not signed.

- The offer is ambiguous.

- Items offered differ in descriptions/requirements/format etc. from those required.

- It is submitted without tender fee, earnest money or with less earnest money as a general policy.

4.	Following Documents must be attached with Technical Proposal:-

- GST Certificate

- NTN Certificate

- Profession / Trade Tax Clearance Certificate

- Original Earnest Money

- Valid Authority/ Distribution letter (Items quoted without authority letter will not be considered)

5.	The offered rates will remain fix throughout the tender period and must be valid for at least 06 Months. The period is extendable to cater for transition period for award of contract / award letter for the next financial year. The offer must be strictly according to attached specification, generic name etc.

6.	2% total value of contract Earnest money in the form of Pay Order/ Bank Draft, in favor of Head LAO, PAEC General Hospital, Jauharabad must be attached along with the Technical Offer in separate sealed envelope. Financial proposal should contain only offered price / rate.

7.	Earnest money will be returned to the unsuccessful bidders soon after finalization of the financial proposal.

8.	The supplier is required to present his agency agreement with the manufacturer (local or foreign) to establish linkage with the manufacturers for the products authorized for sale by the distributor. PGHI will have the right to verify authenticity of agency agreement.

9.	The quantities to be purchased from the suppliers can be increased or decreased as per requirements of PGHI. The suppliers are to ensure timely delivery of equipments as specified failing to which liquidated damages / late delivery (L.D) charges will be applied @ 2% per day subject to a maximum of 10% of the purchase order.

10.	Special Instructions:-

- GST will be charged as per Finance (Supplementary) Bill 2021.

- Suppliers/Distributors are bound to submit a valid authority letter/sole distribution certificate for all the quoted brands failing which offer will not be accepted and the same must be attached along with the TECHNICAL PROPOSAL.

- No change will be allowed during the currency of contract in supplier’s distribution and the supply orders will be generated in the name of same supplier quoted in the tender.

- Rates must be quoted in the specified file available on PPRA website. Any proposal submitted without observing the instructions will be rejected.

11.	Any correspondence regarding this tender must be addressed to Admin Officer, PAEC General Hospital, H-11/4, Islamabad only. For any additional information contact on telephone numbers mentioned below.

12.	The Competent Authority reserves the right to accept or reject any or all the offers.

(Muhammad Anwar Kamal)

Admin Officer

PAEC General Hospital, H-11/4, Islamabad

Phone: 051-9257171 Ext: 289

Fax: 051-9258862

TECHNICAL SPECIFICATIONS FOR THE PURCHASE OF CHEMISTRY ANALYZER

| Sr. # | Description | Qty | Unit Price Without GST | GST | Total Price with GST |
| --- | --- | --- | --- | --- | --- |
| 1. | Chemistry Analyzer | 01 |  |  |  |

Following are the minimum requirements. Products offered must meet these parameters here in.

General Feature:

- Analytical Methods & principles:

- Colorimetry / Spectrophotometry.

- Dry ISE or Equal  (Optional)

- Turbidimetry.

- Cuvettes: Disposable or reusable / washable reaction cuvette system.

- Throughput of Clinical Chemistry assay should be up to 180 tests/hour with-out electrolyte.

- System should be scalable any time (Automation ready / Integrated).

- Onboard stability clinical chemistry should be more than 30 days.

- STAT Capability.

- Liquid-level sensing, bubble detection, short-sample detection.

- Sample Volume should be 4 -50 μL for clinical chemistry.

- Sample Types: Ability to use Serum, Plasma, Urine and other fluids.

- Auto QC and intelligent inventory concept. QC and calibration material is auto-loaded and stored in a position covered and refrigerated compartment and automatically deployed to analyzers when QC or calibration is scheduled. Automated scheduling and delivery of controls and calibrators to analyzers from an onboard-refrigerated compartment.

- Sample rotor with Positive Sample Identification (PSID)

#### Increases productivity and reduces errors.

#### Accommodates 50 samples and 12 auxiliary positions – Primary tubes (13 x75 mm) and sample cups.

#### 1000 µL reagent syringe: – R1 volume 110-399 µL – R2 volume 0-180 µL – R3 volume 0-180 µL – Programmable in 1 µL steps

- 100 µL sample syringe: – Sample volume 1-30 µL – Programmable in 0.1 µL steps

- Programmable dilution ratios 1:5 up to 1:200 in one-step increments with 3 possible diluents

- Pre-heated probe with level detection, collision protection, and integrated mixer.

#### Cuvette Rotor:

- Cost-effective, semi-disposable cuvette rotor with 48 cuvettes

- Up to 10.000 tests per rotor

- Typical reagent consumption is 220 µL per test

- Measurement temperature 37°C, controlled by Peltier elements.

#### Light Source.

- Quartz-iodine lamp 12V-20W.

#### Wavelength Range

- Optical unit with 8-position filter wheel

- 340, 405, 505, 546, 578, 620, 660, 700 nm standard wavelengths

- Other wavelengths available on request.

#### Photometric Range

- -0.1 to 3.0 Absorbance

- Resolution 0.001 Abs.

- Analytical Modes (Single, Dual and Triple reagent system).

- Kinetic measurement with linearity check

- Mono- and bichromatic endpoint measurement with or without bichromatic reagent blank and/or sample blank correction

- Two-point measurement; with or without slope blank

- Graphic plot of all measuring points

- Predilution and automatic reflex dilution as needed

- Non-linear calibration curves

- Prozone check for immunology tests

- Cut-off declaration

- Calculated tests.

- Touch screen monitor with next generation software navigation, intuitive color icons guide the operator through daily workflow

- Rapid access to key operations at a touch

#### Reagent System:

#### 32 refrigerated reagent positions for 10 mL, 25 mL and 50 mL reagent bottles

- Cooled to 10°C +/- 4°C at normal laboratory conditions.

- All reagent positions can be assigned.

- Interfacing: LIS interface.

- Bi-directional barcode facility.

- Printout Feature: Analyzers must have printout feature with built-in or attached external laser printer.

- Time to result viewing capability (Sample / Test).

- Up-gradation of analyzers: Analyzer will be upgraded to higher version as and when available by manufacturer if specifications and test cost remains same.

- Transportation of Reagents: Transportation of the reagents to the labs with cold chain maintained will be responsibility of vendor.

- Service Workshop & Warehouse: Must have service workshop at Islamabad / Rawalpindi/ Faisalabad/ Lahore with adequate engineering services and back up facilities with adequate spare parts to ensure minimum downtime (Please specify)

- Company should have properly maintained cold chain warehouse at national level.

ACCESSORIES:

- Printer and UPS with battery backup (Company Maintained).

Firm must provide

- Minimum 03 local references of same model in Pakistan.

- Instrument must be CE/ FDA and ISO Quality standard certificates.

- FDA K 510/ CE (MDD)/ MHLW (any one certification required)

- Sole Agency Certificate: Must provide valid sole agency certificate from Principle.

- Authorized distributor will be provided service/ backup responsibility certificate on the principle letter head.

- Firm will be providing technical data sheet of their quoted model.

- Compliance sheet will be provided by supplier firm.

- Vendor will be submitting their each regent kit price with number of test that will be lock for warranty period.

### WARRANTY /GUARANTEE

- Three-years warranty with free service and part after installation and 10 years part availability at component level.

### Manual: Two sets each of the following manual in English languages will be provided free of cost in original form.

- Operator/User Manual

- Service Manuals consisting of:-

#### Working principal

- Trouble shooting chart

- Alignment /Adjustment

- Fault finding / Calibration Software

- All electrical /electronic/mechanical schematic circuit diagram

- Part list at component level

Country of Manufacturer: EUROPE /USA/JAPAN.

Reagents & Analyzers both must have manufacturers of USA, Japan or European Union.